## Summary
Renewable electricity output calculator
This update: January 2020
Next update: January 2021 | Insert values into the boxes below ↓
Question 1:
How much electricity would a site with X MW capacity be expected to produce?
How many households would this supply?
X = | 500 | MW
Type of site = | Onshore Wind
Answer:
Estimated annual generation = | 1107744.0439 | MWh
Enough to power the equivalent of | 283312 | households in Scotland for a year
Question 2:
How much CO2 would this save each year?
Fuel type being displaced = | Coal
Answer:
CO2 saved per year = | 1016952.8142 | tonnes of CO2

## Q1 data
Renewables electricity generation in Scotland, 2017
| 500 | MW of capacity generating 24 hours a day for 365 days a year would produce |  |  |  | 4380000 | MWh of electricity, i.e. theoretical maximum possible generation
The load factors in Scotland for each technology over the last 5 years are:
| Technology |  | 2014 | 2015 | 2016 | 2017 | 2018 | 5 year average
| Onshore Wind |  | 26.28% | 29.1% | 23.18% | 27.82% | 26.94% | 26.66%
| Offshore Wind |  | 33.55% | 31.96% | 30.53% | 32.36% | 35.99% | 32.88%
| Solar PV |  | 10.61% | 9.998% | 10.43% | 10.36% | 10.84% | 10.45%
| Hydro |  | 41.2% | 42.99% | 35.32% | 37.59% | 34.86% | 38.39%
| Hydro (large-scale) |  | 41.14% | 42.85% | 35.14% | 36.94% | 33.93% | 38%
| Hydro (small-scale) |  | 41.66% | 43.85% | 36.28% | 40.5% | 38.84% | 40.23%
| Landfill gas |  | 52.53% | 49.4% | 48.23% | 43.81% | 41.59% | 47.11%
| Sewage Gas |  | 46.13% | 43.32% | 51.29% | 56.64% | 55.27% | 50.53%
| Other bioenergy (ex cofiring & sewage) |  | 69.45% | 64.04% | 62.97% | 69.23% | 60.04% | 65.15%
Source: Regional Renewable Statistics, BEIS. Load factors are on an unchanged configuration basis (per cent).
https://www.gov.uk/government/uploads/system/uploads/attachment_data/file/556694/Regional_spreadsheets__2003-2015__-_Std_LFs.xls
Network transmission and distribution losses in Scotland over the last 5 years are estimated to be:
|  |  | 2014 | 2015 | 2016 | 2017 | 2018 | 5 year average
| Losses |  | 5.612% | 4.799% | 5.364% | 4.828% | 5.138% | 5.148%
Source: Electricity generation and supply figures for Scotland, BEIS.
https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/766072/Regional_Electricity_Generation_and_Supply.xls
Therefore, actual generation is estimated to be:
| Technology |  | Generation (MWh)
| Onshore Wind |  | 1107744.0439
| Offshore Wind |  | 1365903.5503
| Solar PV |  | 434056.4357
| Hydro |  | 1594882.7673
| Hydro (large-scale) |  | 1578736.2437
| Hydro (small-scale) |  | 1671212.136
| Landfill gas |  | 1957217.4091
| Sewage Gas |  | 2099317.3252
| Other bioenergy (ex cofiring & sewage) |  | 2706533.3142
| In 2018, the average household in Scotland used |  |  | 3909.977 | kWh of electricity
Source: Sub-national Local Authority electricity consumption statistics, BEIS
https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/766296/Sub-national_electricity_consumption_statistics_2005-2017.xlsx
Therefore, the site would power the equivalent of the following number of homes in Scotland:
| Technology |  | Households
| Onshore Wind |  | 283312
| Offshore Wind |  | 349338
| Solar PV |  | 111013
| Hydro |  | 407901
| Hydro (large-scale) |  | 403771
| Hydro (small-scale) |  | 427422
| Landfill gas |  | 500570
| Sewage Gas |  | 536913
| Other bioenergy (ex cofiring & sewage) |  | 692212

## Q2 data
CO2 savings from using renewables
The estimated CO2 emissions per unit of electricity generated by fuel type are as follows:
Tonnes of CO2 per GWh electricity supplied
| Fuel | 2015 | 2016 | 2017
| Coal | 909.1492 | 931.4142 | 918.0395
| Gas | 382.3422 | 377.9212 | 356.8397
| All fossil fuels | 625.0268 | 496.7644 | 460.2965
| All fuels (including nuclear & renewables) | 335.2818 | 264.6715 | 225.0274
| Grid mix | 462.19 | 412.05 | 351.56
| Sources: (1) DUKES 2015 Table 5D (page 125), BEIS | https://www.gov.uk/government/publications/electricity-chapter-5-digest-of-united-kingdom-energy-statistics-dukes
| (2) GHG Conversion factors, BEIS | https://www.gov.uk/government/collections/government-conversion-factors-for-company-reporting
Multiplying the latest year's figure by the actual renewable electricity generation (see the 'Q1 data' sheet) gives
| the tonnes of CO2 saved per year by replacing: | Coal
| Technology |  |  | Tonnes of CO2 saved per year
| Onshore Wind |  |  | 1016952.8142
| Offshore Wind |  |  | 1253953.4444
| Solar PV |  |  | 398480.9634
| Hydro |  |  | 1464165.4157
| Hydro (large-scale) |  |  | 1449342.2689
| Hydro (small-scale) |  |  | 1534238.793
| Landfill gas |  |  | 1796802.9377
| Sewage Gas |  |  | 1927256.2769
| Other bioenergy (ex cofiring & sewage) |  |  | 2484704.5541
Note on B13: UK electricity' tab, electricity generated kg CO2e figure